|  |  |  |  | Backflow Prevention Assembly Test Report |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cross Connection Control 3000 Guildford Way, Coquitlam BC V3B 7N2 |  |  |  |  | Email: PlumbingPermits@coquitlam.ca Website: www.coquitlam.ca |  |  |  |  |
|  | Name of Property |  | __________________________________ _________ Commercial  Residential |  |  |  |  |  |  |
| Street Address |  |  | __________________________________________________________________________ |  |  |  |  |  |  |
| Contact Person |  |  | _____________________________Tel ______________ _____ Fax _________________ |  |  |  |  |  |  |
| Location of Assembly |  |  | ____________________________________________ Email _________________________ |  |  |  |  |  |  |
| Type of Equipment or Fixture Protected |  |  | __________________________________________________________________________ |  |  |  |  |  |  |
| Assembly |  | ___________________ |  |  |  | _________________ | __________________ | ___________________ |  |
|  |  | Manufacturer (Make) |  |  |  | Model | Serial No. | Size |  |

| New Installation  | Permit No. ______________________________________________________________________ |
| --- | --- |

| Existing  | Replacement  | Serial Number of replaced assembly _____________________________________ |
| --- | --- | --- |

Line pressure at time of test ______________ p.s.i.

Type of Assembly

| RPBA  |  | DCVA  | PVB  |  | RPDA  |  | DCDA  | AG  |  | Testing Equip: |  | DIFF  | DUP  |  | ST  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Reduced Pressure Assemblies |  |  |  |  | Pressure Vacuum Breaker |  |  |  |  |
| Double Check Assemblies |  |  |  |  |  |  |  |  |  |  | Air Intake |  |  | Check Valve |  |
|  | First Check (A) |  |  | 2nd Check |  | Relief Valve (B) |  |  | Buffer (a-b=c) |  | Opened at _________ psid |  |  | Pressure Drop _______ psid |  |
| Initial Test | DC closed tight  RP actual pres drop _________ psid Confirmation test Yes  Leaked  |  |  | Closed tight  _________ psid No  Leaked  |  | Opened at ________ psid Passed  Failed  |  |  | ________ psid |  | Did not open  |  |  | Leaked  |  |
| Test After Repair | DC closed tight  RP actual pres drop _________ psid Confirmation test Yes  |  |  | Closed tight  _________ psid |  | Opened at ________ psid |  |  | ________ psid |  | Opened at ________ psid |  |  | Pressure Drop _______ psid |  |
|  | Air Gap Inspection: Required minimum air gap separation provided Yes  No  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Initial Test Performed by _________________________  Cert. No.  ____________________  Date (YMD) ________________

Business Name                _________________________________________________________________________________

Business Address            _________________________________________________________________________________

Business Phone              _________________________________________________________________________________

I CERTIFY THAT I HAVE TESTED THE ABOVE ASSEMBLY AND THAT IT MEETS THE PERFORMANCE REQUIREMENTS OUTLINED IN THE CITY OF COQUITLAM PLUMBING BYLAW

| ________________________________________________ | _______________________________________________ |
| --- | --- |
| Tester’s Signature | Owner’s Representative – Please print name and sign |

TEST REPORT MUST BE SUMBITTED NO LATER THAN 10 DAYS FOLLOWING TESTING

Check Causes for Backflow Preventor Failing Initial Test

| Description |  |  | No. 1 Check Valve | No. 2 Check Valve | Relief Valve |
| --- | --- | --- | --- | --- | --- |
| 1. |  | Isolating Gate Valve(s) Passing Water |  |  |  |
| 2. |  | Foreign Matter Introduced During Construction |  |  |  |
| 3. |  | Sand or Grit Inherent to the Supply System |  |  |  |
| 4. |  | Copper Filings Solder or Pipe Dope |  |  |  |
| 5. |  | Nuts, Bolts, Washers, etc. (not from assembly) |  |  |  |
| 6. |  | Paper, Cardboard or Sawdust |  |  |  |
| 7. |  | Improper Assembly Installed | N/A | N/A |  |
| 8. |  | Kinking of External Sensing Line |  |  |  |
| 9. |  | Air Entrapment |  |  |  |
| 10. |  | Turberculation or Rust |  |  |  |
| 11. |  | Frozen Assembly |  |  |  |
| 12. |  | Abnormal Rubber Disc Wear or Cuts |  |  |  |
| 13. |  | Spring(s) |  |  |  |
| 14. |  | O Ring(s) |  |  |  |
| 15. |  | Loss of Interior Coating |  |  |  |
| 16. |  | Disc Retainer (Fractured or Worn) |  |  |  |
| 17. |  | Retain Nut |  |  |  |
| 18. |  | Improper Casting or Machining of Assembly |  |  |  |
| 19. |  | Guide Mechanism |  |  |  |
| 20. |  | Obstructed Sensing Line | N/A | N/A |  |
| 21. |  | Diaphragm Failure | N/A | N/A |  |
| 22. |  | Replace Rubber Parts |  |  |  |
| 23. |  | Test Cock(s) Missing from Assembly |  |  | N/A |
| 24. |  | Improper (Unapproved) Installation |  |  |  |
| 25. |  | Assembly no Longer Required |  |  |  |
| 26. |  | Assembly Replaced |  |  |  |
| 27. |  | Couldn’t Test (Explain Below) |  |  |  |
| 28. |  | Vertical Installation Yes  No  | N/A | N/A | N/A |
| 29. | Other (specify) |  |  |  |  |
|  | ______________________________________________________________________________________________ |  |  |  |  |
|  | ______________________________________________________________________________________________ |  |  |  |  |
|  | Remarks_______________________________________________________________________________________ |  |  |  |  |
|  | ______________________________________________________________________________________________ |  |  |  |  |
|  | ______________________________________________________________________________________________ |  |  |  |  |
|  | The personal information collected on this form is collected in accordance with the Freedom of Information and protection of Privacy Act. The City has authority to collect your information for the purposes of administering the Building Permitting System in accordance with Division 9 of the Community Charter. Should you have any questions or concerns about the collection of your personal information, please call the Front Counter Supervisor at 604-927-3441. (NOTE: Business contact information is not considered personal information and will be released on request.) |  |  |  |  |