## Gas detection systems
Location | PM frequency | Lead craft | Sensor quantity
PSLC Arena | Monthly | Mark | 4 sensors for NH3 (ammonia)
PSLC Pool | Monthly | Mark | 1 sensor for chlorine, 1 sensor for ozone and 1 sensor for refrigerant
Eagle Ridge Pool | Monthly | Mark | Chlorine sensor
CCAC | Monthly | Mark | Chlorine sensor (ask Mark)
BMFH | 6 months | Brad | 4 sensors CO2
Robinson Memorial | 6 months | Mark | Unknown ( not in software)
CH | Annual | Kledia | 8 sensors for CO & NO2
PSB | Annual | Kledia | 7 sensors for CO & NO2
GP | Annual | Kledia | Unknown ( not in software)
AOB | Annual | Kledia | 26 sensors for CO & NO2
MCC | Annual | Kledia | 4 sensors for CO & NO2
CCCL | Annual | Kledia | unknown ( not in software)
PDA | Annual | Kledia | unknown ( not in software)

## Assets RB
Building | Description | Location | Location | Manufacturer | Model | SerialNum | AssetTag
Austin Operations Building (AOB) | Gas Detector, GD-1, CO and NO2, North Fleet NW, Austin Operations Building | BD0448.D5030 | North Fleet NW, by Bay 1 | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0007 | GD-1
AOB | Gas Detector, GD-2, C3H8, North Fleet NW, Austin Operations Building | BD0448.D5030 | North Fleet NW, by Bay 1 | Critical Environment Technologies | Opera 6006-A | 2583994-0010 | GD-2
AOB | Gas Detector, GD-3, CO and NO2, North Fleet SW, Austin Operations Building | BD0448.D5030 | North Fleet SW, by Bay 4 | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0013 | GD-3
AOB | Gas Detector, GD-4, C3H8, North Fleet SW, Austin Operations Building | BD0448.D5030 | North Fleet SW, by Bay 4 | Critical Environment Technologies | Opera 6006-A | 2583994-0008 | GD-4
AOB | Gas Detector, GD-5, CO and NO2, North Fleet SE, Austin Operations Building | BD0448.D5030 | North Fleet SE, by Bay 13 | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0011 | GD-5
AOB | Gas Detector, GD-6, C3H8, North Fleet SE, Austin Operations Building | BD0448.D5030 | North Fleet SE, by Bay 13 | Critical Environment Technologies | Opera 6006-A | 2583994-0005 | GD-6
AOB | Gas Detector, GD-7, CO and NO2, South Fleet NW, Austin Operations Building | BD0448.D5030 | South Fleet NW, by Bay 5 | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0034 | GD-7
AOB | Gas Detector, GD-8, C3H8, South Fleet NW, Austin Operations Building | BD0448.D5030 | South Fleet NW, by Bay 5 | Critical Environment Technologies | Opera 6006-A | 2583994-0004 | GD-8
AOB | Gas Detector, GD-9, CO and NO2, South Fleet NE, Austin Operations Building | BD0448.D5030 | South Fleet NE, by Bay 12 | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0012 | GD-9
AOB | Gas Detector, GD-10, C3H8, South Fleet NE, Austin Operations Building | BD0448.D5030 | South Fleet NE, by Bay 12 | Critical Environment Technologies | Opera 6006-A | 2583994-0002 | GD-10
AOB | Gas Detector, GD-11, CO and NO2, South Fleet SW, Austin Operations Building | BD0448.D5030 | South Fleet SW, by Bay 8 | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0010 | GD-11
AOB | Gas Detector, GD-12, C3H8, South Fleet SW, Austin Operations Building | BD0448.D5030 | South Fleet SW, by Bay 8 | Critical Environment Technologies | Opera 6006-A | 2500235-0003 | GD-12
AOB | Gas Detector, GD-13, CO and NO2, EPW Workshop, Austin Operations Building | BD0448.D5030 | EPW Workshop | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0042 | GD-13
AOB | Gas Detector, GD-14, C3H8, EPW Workshop, Austin Operations Building | BD0448.D5030 | EPW Workshop | Critical Environment Technologies | Opera 6006-A | 2500235-0009 | GD-14
AOB | Gas Detector, GD-15, CO and NO2, Paint Booth Shop, Austin Operations Building | BD0448.D5030 | Paint Booth Shop | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0008 | GD-15
AOB | Gas Detector, GD-16, C3H8, Paint Booth Shop, Austin Operations Building | BD0448.D5030 | Paint Booth Shop | Critical Environment Technologies | Opera 6006-A | 2500235-0011 | GD-16
AOB | Gas Detector, GD-17, CO and NO2, Facilities Workshop 1, Austin Operations Building | BD0448.D5030 | Facilities Workshop 1 | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0005 | GD-17
AOB | Gas Detector, GD-18, C3H8, Facilities Workshop 1, Austin Operations Building | BD0448.D5030 | Facilities Workshop 1 | Critical Environment Technologies | Opera 6006-A | 2500235-0004 | GD-18
AOB | Gas Detector, GD-19, CO and NO2, Facilities Workshop 2, Austin Operations Building | BD0448.D5030 | Facilities Workshop 2 | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0009 | GD-19
AOB | Gas Detector, GD-20, C3H8, Facilities Workshop 2, Austin Operations Building | BD0448.D5030 | Facilities Workshop 2 | Critical Environment Technologies | Opera 6006-A | 2500235-0005 | GD-20
AOB | Gas Detector, GD-21, CO and NO2, Parks Workshop, Austin Operations Building | BD0448.D5030 | Parks Workshop | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0037 | GD-21
AOB | Gas Detector, GD-22, C3H8, Parks Workshop, Austin Operations Building | BD0448.D5030 | Parks Workshop | Critical Environment Technologies | Opera 6006-A | 2500235-0001 | GD-22
AOB | Gas Detector, GD-23, CO and NO2, Parks Carpentry, Austin Operations Building | BD0448.D5030 | Parks Carpentry | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0028 | GD-23
AOB | Gas Detector, GD-24, C3H8, Parks Carpentry, Austin Operations Building | BD0448.D5030 | Parks Carpentry | Critical Environment Technologies | Opera 6006-A | 2500235-0008 | GD-24
AOB | Gas Detector, GD-25, CO and NO2, Facilities Carpentry, Austin Operations Building | BD0448.D5030 | Facilities Carpentry | Critical Environment Technologies | Belimo 22G0214-5A | 2563278-0014 | GD-25
AOB | Gas Detector, GD-26, C3H8, Facilities Carpentry, Austin Operations Building | BD0448.D5030 | Facilities Carpentry | Critical Environment Technologies | Opera 6006-A | 2583994-0007 | GD-26
Burke Mountain FireHall | Gas Detector, GD-1, CO, Hall, Burke Mountain Fire Station | BD0302.D5030 | Hall | Critical Environment Technologies | LPT-TCO | LPT1703E02876-R | GD-1
City Center Aquatic Complex (CCAC) | Gas Detector, GD-1, O3 Control, Mechanical Room, Ground Level, City Center Aquatics Complex | BD0375.F1130 | Mechanical Room, Ground Level | Critical Environment Technologies | MAC-C-AJN | MAC20604F01148 | GD-1
CCAC | Gas Detector, GD-2, O3 Sensor, Ozone Room, Ground Level, City Center Aquatics Complex | BD0375.F1130 | Ozone Room | Critical Environment Technologies | AST-EO3-W | AST2E1312 | GD-2
CCAC | Gas Detector, GD-3, CL2 Control, Mechanical Room, Ground Level, City Center Aquatics Complex | BD0375.F1130 | Mechanical Room, Ground Level | Critical Environment Technologies | DCC-B-RT | DCC1805C00965-R | GD-3
CCAC | Gas Detector, GD-4, CL2 Sensor, Chlorine Room, Ground Level, City Center Aquatics Complex | BD0375.F1130 | Chlorine Room | Critical Environment Technologies | LPT-A-CL2 | LPTAE1701H00987 | GD-4
Coquitlam City Center Library (CCCL) | Gas Detector, GD-1, CO and NO2, Stall 6, Parking, Coquitlam City Center Library | BD0431.D5030 | Parking | Critical Environment Technologies | DCC-E-TCO-NO2B | DCC1705C00498-R | GD-1
CCCL | Gas Detector, GD-2, CO and NO2, Stall 21, Parking, Coquitlam City Center Library | BD0431.D5030 | Parking | Critical Environment Technologies | DCC-E-TCO-NO2B | DCC1705C00501-R | GD-2
CCCL | Gas Detector, GD-3, CO and NO2, Stall 49, Parking, Coquitlam City Center Library | BD0431.D5030 | Parking | Critical Environment Technologies | DCC-E-TCO-NO2B | DCC1705C00499-R | GD-3
CCCL | Gas Detector, GD-4, CO and NO2, Stall 60, Parking, Coquitlam City Center Library | BD0431.D5030 | Parking | Critical Environment Technologies | DCC-E-TCO-NO2B | DCC1705C00497-R | GD-4
CCCL | Gas Detector, GD-5, CO and NO2, Stall 79, Parking, Coquitlam City Center Library | BD0431.D5030 | Parking | Critical Environment Technologies | DCC-E-TCO-NO2B | DCC1705C00500-R | GD-5
CCCL | Gas Detector, GD-6, CO and NO2, Loading Bay, Coquitlam City Center Library | BD0431.D5030 | Parking | Critical Environment Technologies | DCC-E-TCO-NO2B | DCC1705C00497 | GD-6
City Hall | Gas Detector, GD-1, NO2, Motorcycle Only, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-END | LPT1704C02979 | GD-1
City Hall | Gas Detector, GD-2, CO, Motorcycle Only, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-TCO | LPT1703E02876-R | GD-2
City Hall | Gas Detector, GD-3, NO2, Stall 12, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-END | LPT1704C02980 | GD-3
City Hall | Gas Detector, GD-4, CO, Stall 12, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-TCO | LPT1703E02872-R | GD-4
City Hall | Gas Detector, GD-5, NO2, Stall 21, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-END | LPT1704C02984 | GD-5
City Hall | Gas Detector, GD-6, CO, Stall 21, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-TCO | LPT1703E02873-R | GD-6
City Hall | Gas Detector, GD-7, NO2, Stall 42, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-END | LPT1704C02982 | GD-7
City Hall | Gas Detector, GD-8, CO, Stall 42, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-TCO | LPT1703E02877-R | GD-8
City Hall | Gas Detector, GD-9, NO2, Stall 49, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-END | LPT1704C02985 | GD-9
City Hall | Gas Detector, GD-10, CO, Stall 49, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-TCO | LPT1703E02878-R | GD-10
City Hall | Gas Detector, GD-11, NO2, Stall 65, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-END | LPT1704C02983 | GD-11
City Hall | Gas Detector, GD-12, CO, Stall 65, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-TCO | LPT1703E02874-R | GD-12
City Hall | Gas Detector, GD-13, NO2, Stall 72, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-END | LPT1704C02986 | GD-13
City Hall | Gas Detector, GD-14, CO, Stall 72, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-TCO | LPT1703E02875-R | GD-14
City Hall | Gas Detector, GD-15, NO2, Stall 90, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-END | LPT1704C02981 | GD-15
City Hall | Gas Detector, GD-16, CO, Stall 90, Parking Level 2, City Hall | BD0377.D5030 | Parking Level 2 | Critical Environment Technologies | LPT-TCO | LPT1703E02871-R | GD-16
Eagle Ridge Pool | Gas Detector, GD-1, CL2 Control, Chlorine Room, Eagle Ridge Pool | BD0975.F1130 | Chlorine Room | Critical Environment Technologies | DCC-B-RT | DCC1705C00495 | GD-1
Eagle Ridge Pool | Gas Detector, GD-2, CL2 Sensor, Chlorine Room, Eagle Ridge Pool | BD0975.F1130 | Chlorine Room | Critical Environment Technologies | LPT-A-CL2 | LPTAE1608H00560 | GD-2
Glen Pine | Gas Detector, GD-1, CO and NO2, Stall 7, Parkade, Glen Pine Pavilion | BD0424.D5030 | Parkade | Critical Environment Technologies | DCC-D-TCO-NO2B | DCC1705D00504-R | GD-1
Glen Pine | Gas Detector, GD-2, CO and NO2, Stall 35, Parkade, Glen Pine Pavilion | BD0424.D5030 | Parkade | Critical Environment Technologies | DCC-D-TCO-NO2B | DCC1705D00505-R | GD-2
Maillardville Community Center (MCC) | Gas Detector, GD-1, CO and NO2, Northeast outside Electrical Room, Parkade, Maillardville Community Center | BD0440.D5030 | Northeast outside Electrical Room, Parkade | Critical Environment Technologies | GS302WMXBR2A | 521386-048 | GD-1
MCC | Gas Detector, GD-2, CO and NO2, Northwest outside Mechanical Room, Parkade, Maillardville Community Center | BD0440.D5030 | Northwest outside Mechanical Room | Critical Environment Technologies | GS302WMXBR2A | 521386-095 | GD-2
MCC | Gas Detector, GD-3, CO and NO2, Southwest near Exit, Parkade, Maillardville Community Center | BD0440.D5030 | Southwest near Exit, Parkade | Critical Environment Technologies | GS302WMXBR2A | 521386-128 | GD-3
MCC | Gas Detector, GD-3, CO and NO2, Southeast near Exit, Parkade, Maillardville Community Center | BD0440.D5030 | Southeast near Exit, Parkade | Critical Environment Technologies | GS302WMXBR2A | 521386-132 | GD-4
Place Des Arts | Gas Detector, GD-1, CO, North outside Electrical Room, Parkade, Place Des Arts | BD0348.D5030 | North outside Electrical Room, Parkade | Critical Environment Technologies | DCC-E-TCO-NO2B | DCC1705C00502 | GD-1
Place Des Arts | Gas Detector, GD-2, CO, South close to Entrance, Parkade, Place Des Arts | BD0348.D5030 | South close to Entrance, Parkade | Critical Environment Technologies | DCC-E-TCO-NO2B | DCC1705C00503 | GD-2
Poirier Admin | Gas Detector, GD-1, CH4, Boiler Room, Lower Level, Poirier Administration | BD0369.D5030 | Boiler Room, Lower Level | Critical Environment Technologies | SCS-BCB | SCS0309D0104 | GD-1
Public Safety Building (PSB) | Gas Detector, GD-1, CO, Parkade, Public Safety Building | BD0378.D5030 | Parkade | Critical Environment Technologies | LPT-TCO | LPT1605E02287-R | GD-2
PSB | Gas Detector, GD-2, NO2, Parkade, Public Safety Building | BD0369.D5030 | Parkade | Critical Environment Technologies | LPT-END | LPT1606C02321 | GD-3
PSB | Gas Detector, GD-3, CO, Parkade Amanda, Public Safety Building | BD0378.D5030 | Parkade | Critical Environment Technologies | LPT-TCO | LPT1605E02291-R | GD-4
PSB | Gas Detector, GD-4, NO2, Parkade Amanda, Public Safety Building | BD0348.D5030 | Parkade | Critical Environment Technologies | LPT-END | LPT1606C02322 | GD-5
PSB | Gas Detector, GD-5, CO, Parkade, Public Safety Building | BD0369.D5030 | Parkade | Critical Environment Technologies | LPT-TCO | LPT1605E02283-R | GD-6
PSB | Gas Detector, GD-6, NO2, Parkade, Public Safety Building | BD0378.D5030 | Parkade | Critical Environment Technologies | LPT-END | LPT1607C02326 | GD-7
PSB | Gas Detector, GD-7, CO, Parkade, Public Safety Building | BD0348.D5030 | Parkade | Critical Environment Technologies | LPT-TCO | LPT1605E02290-R | GD-8
PSB | Gas Detector, GD-8, NO2, Parkade, Public Safety Building | BD0369.D5030 | Parkade | Critical Environment Technologies | LPT-END | LPT1607C02327 | GD-9
PSB | Gas Detector, GD-9, CO, Parkade Refuge Area, Public Safety Building | BD0378.D5030 | Parkade | Critical Environment Technologies | LPT-TCO | LPT1605E02292-R | GD-10
PSB | Gas Detector, GD-10, NO2, Parkade Refuge Area, Public Safety Building | BD0369.D5030 | Parkade | Critical Environment Technologies | LPT-END | LPT1606C02319 | GD-11
PSB | Gas Detector, GD-11, CO, Parkade, Public Safety Building | BD0378.D5030 | Parkade | Critical Environment Technologies | LPT-TCO | LPT1605E02289-R | GD-12
PSB | Gas Detector, GD-12, NO2, Parkade, Public Safety Building | BD0348.D5030 | Parkade | Critical Environment Technologies | LPT-END | LPT1607C02325 | GD-13
PSB | Gas Detector, GD-13, CO, Parkade, Public Safety Building | BD0369.D5030 | Parkade | Critical Environment Technologies | LPT-TCO | LPT1605E02288-R | GD-14
PSB | Gas Detector, GD-14, NO2, Parkade, Public Safety Building | BD0378.D5030 | Parkade | Critical Environment Technologies | LPT-END | LPT1607C02324 | GD-15
Poirier Sport & Leisure Complex (PSLC) Arena | Gas Detector, GD-1, NH3, Above V1, Refrigeration 1022, Arena 1, PSLC Arena | BD0421.F1210 | Above V1, Refrigeration 1022 | Critical Environment Technologies | CGAS-A-7NH3 | CGASA2307C01474 | GD-1
PSLC (Arena) | Gas Detector, GD-2, NH3, Between V-8 and V-9, Refrigeration 1022, Arena 1, PSLC Arena | BD0421.F1210 | Between V-8 and V-9, Refrigeration 1022 | Critical Environment Technologies | CGAS-A-7NH3 | CGASA2307C01473 | GD-2
PSLC (Arena) | Gas Detector, GD-3, NH3, Between V-10 and V-2, Refrigeration 1022, Arena 1, PSLC Arena | BD0421.F1210 | Between V-10 and V-2, Refrigeration 1022 | Critical Environment Technologies | CGAS-A-7NH3 | CGASA2307C01475 | GD-3
PSLC (Arena) | Gas Detector, GD-4, NH3 for Vent Stack, Above V-5, Refrigeration 1022, Arena 1, PSLC Arena | BD0421.F1210 | Above V-5, Refrigeration 1022 | Critical Environment Technologies | CGAS-A-7NH3-3% | CGASA2302C01090 | GD-4
PSLC (Arena) | Gas Detector, GD-5, NH3 Control, Outside Refrigeration 1022, Arena 1, PSLC Arena | BD0421.F1210 | Outside Refrigeration 1022 | Critical Environment Technologies | QCC-M | QCCM1902B00474 | GD-4
PSLC Pool | Gas Detector, GD-1, O3 Control, Outside Ozone Generator Room, Basement, PSLC Pool | BD0412.F1130 | Outside Ozone Generator Room | Critical Environment Technologies | OCC-M | QCCM1909B00607 | GD-1
PSLC Pool | Gas Detector, GD-2, O3 Sensor, Ozone Generator Room, Basement, PSLC Pool | BD0412.F1130 | Ozone Generator Room | Critical Environment Technologies | LPT-A-03 | LPTAE1909H02439 | GD-2
PSLC Pool | Gas Detector, GD-3, O3 Sensor, Ozone Tank Room, Basement, PSLC Pool | BD0412.F1130 | Ozone Tank Room | Critical Environment Technologies | LPT-A-03 | LPTAE1909H02440 | GD-3
PSLC Pool | Gas Detector, GD-4, CL2 Control, Corridor, Basement, PSLC Pool | BD0412.F1130 | Corridor, Basement | Critical Environment Technologies | DCC-B-RT | DCC1805C00966-R | GD-4
PSLC Pool | Gas Detector, GD-5, CL2 Sensor, Chlorine Room, PSLC Pool | BD0412.F1130 | Chlorine Room | Critical Environment Technologies | LPT-A-CL2 | LPTAE1806H01883 | GD-5
PSLC Pool | Gas Detector, GD-6, R134a, Chiller, Chemical Filter Room, PSLC Pool | BD0412.F1130 | Chemical Filter Room | Critical Environment Technologies | Opera 6021-C | 2699190-0006 | GD-6
Robinson Memorial | Gas Detector, GD-1, CO and C3H8, Loading Bay, Robinson Memorial Cemetery Admin Building | BD0343.D5030 | Loading Bay | Critical Environment Technologies | SCC-D-TCO-R | SCC1509100620 | GD-1
Robinson Memorial | Gas Detector, GD-2, CO and C3H8, Loading Bay, Robinson Memorial Cemetery Admin Building | BD0343.D5030 | Loading Bay | Critical Environment Technologies | LPT-A-STVOC | LPTAS1503H00478 | GD-2
Service Center - Vehicle Service Building | Gas Detector, GD-1, CO and C3H8, Small Engine Room, Vehicle Service Building | BD0395.D5030 | Small Engine Room | Critical Environment Technologies | DCC-D-TCO-R-1 | DCC1902C01274 | GD-1
Service Center - Vehicle Service Building | Gas Detector, GD-2, CO and C3H8, Small Engine Room, Vehicle Service Building | BD0395.D5030 | Small Engine Room | Critical Environment Technologies | LPT-A-STVOC | LPTAS1612H00712 | GD-2

## PMs
PMNum | Description | Lead | Route | Children | Location
3594 | PM - COQ - Monthly - ARENA and POOLS - Gas Detection Systems - CETCI | 7996 | POOLALAR |  | COQ
|  |  |  | PM - Poirier Sport and Leisure Complex (Arena and Pool) - Monthly - Gas Detection | BD0412.F1000
|  |  |  | PM - City Centre Aquatic Complex - Monthly - Gas Detection Systems | BD0375.F1000
3599 | PM - COQ - ANNUAL - Parking Lots - Gas Detection Systems - Critical Environment Technologies | 14322 | PARKGAS
|  |  |  | PM - City Hall - Annual - Parking Lots Gas Detection Calibration Services | BD0377
|  |  |  | PM - Coquitlam City Centre Library - Annual - Parking Lots Gas Detection Calibration Services | BD0431
|  |  |  | PM - Glen Pine Pavilion - Annual - Parking Lots Gas Detection Calibration Services | BD0424
|  |  |  | PM - Place Des Arts - Annual - Parking Lots Gas Detection Calibration Services | BD0348
|  |  |  | PM - Public Safety Building - Annual - Parking Lots Gas Detection Calibration Services - May 2023 | BD0378
|  |  |  | PM - Maillardville Community - Annual - Parking Lots Gas Detection Calibration Services | BD0440
4263 | PM - Burke Mountain Firestation - 6 Month - Gas Detection Systems - CETCI | 13003 | N/A | N/A | BD0302.D5000
4347 | PM - Robinson Memorial Park Admin Bldg - 6 Month - Gas Detection Systems - Nov 2023 | 7996 | N/A | N/A | BD0343.D5000
4348 | PM - Poirier Administration (L & P Admin) Youth Day Treatment - (Both Sides) - Annual - Gas Detection Systems | 7996 | N/A | N/A | BD0369
4047 | INACTIVE - PM - Service Centre - Vehicle Service Building - 6 Month - Small Engine Shop - Gas Detection - CETCI | 7996 | N/A | N/A | BD0395.D5000