## Appendix 1
Revised - APPENDIX 1 - Revision No. 2
FORM OF TENDER
Contract 81832 - Phase 2
2026 & 2027 Cedar Drive Upgrades
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers)
(All Tender and Contract Prices shall NOT include GST. GST will apply upon payment)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail)
ITEM NO. | MMCD Ref./ (Supplementary Contract Specifications) | DESCRIPTION | UNIT OF MEASURE | TOTAL QUANTITY | UNIT PRICE | TOTAL COST
1 | 01 53 01S | TEMPORARY FACILITIES
1.01 | (1.9.2) | Ground Water Management and Dewatering of all site | Lump Sum | 1
1.02 | (1.9.3) | Partington Creek Bypass as per Environmental Management Plan (EMP) - Appendix D and ESC Plan (Contract Drawings) | Lump Sum | 1
1.03 | (1.9.4) | Temporary shoring to be provided as required to maintain existing road during north culvert installations. Shoring design to be sealed by a professional engineer | Lump Sum | 1
1.04 | (1.9.4) | Temporary trench shoring to be provided as required for sanitary main Horizontal Directional Drilling receiving pit at STA 0+820 c/w trench excavation, approved native backfill, and shoring removal after construction. Shoring design to be sealed by a professional engineer (Provisional) | lin.m | 20
2 | 01 55 00S | TRAFFIC CONTROL, VEHICLE ACCESS AND PARKING
2.01 | 1.5.1 | Traffic Control and Management |  | Incidental to Contract
3 | 01 57 01S | ENVIRONMENTAL PROTECTION
3.01 | (1.6.1) | ESC supply & installation, maintenance and removal | ALLOWANCE |  |  | 120000
4 | 01 58 01S | PROJECT IDENTIFICATION
4.01 | (1.3.1) | Construction Zone Information Signs | Each | 4
5 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
5.01 | (1.4.3) | MMCD C4 Curb and Gutter (Solid or Slotted) | lin.m | 1827
5.02 | (1.4.5) | Concrete Pedestrian Letdowns | Square Meter | 48
5.03 | (1.4.5) | Concrete Driveway Letdowns and Aprons | Square Meter | 94
5.04 | (1.4.10) | Tactile Strip - 24x48in. Access Tile, Truncated Dome Pattern, Yellow color - Cast-in-place Removable Type | Each | 9
6 | 04 43 00S | CHANNEL SUBSTRATE
6.01 | (1.3.1) | Channel Substrate Gravel Mix | Tonnes | 2200
6.02 | (1.3.2) | 600mm Dia. Boulder (Provisional) | Each | 50
7 | 26 56 01S | ROADWAY LIGHTING
7.01 | 1.9.1 | Street and MUP Lighting | Lump Sum | 1
8 | 31 11 01S | CLEARING AND GRUBBING
8.01 | (1.4.1) | Tree and Shrub Removals, Clearing and Grubbing | Lump Sum | 1
9 | 31 23 01S | EXCAVATING, TRENCHING AND BACKFILLING
9.01 | (1.10.9) | Imported Trench Backfill (75mm Minus) (Provisional) | Tonnes | 400
10 | 31 23 17 | ROCK REMOVAL
10.01 | 1.6 | Removal of boulders from excavation for open cut utility installations and sediment ponds only | Cubic Meter | 250
11 | 31 23 23 | CONTROLLED DENSITY FILL
11.01 | 1.4 | Infill of Existing 1200mm Dia. HDPE Culvert with Controlled Density Fill (CEMATRIX or Approved Equal) (Provisional) | Cubic Meter | 110
12 | 31 24 13S | ROADWAY EXCAVATION, EMBANKMENT AND COMPACTION
12.01 | (1.8.5) | Common Excavation - Off Site Disposal, includes stripping and top soil removal (Provisional) | Cubic Meter | 10980
12.02 | (1.8.5) | Common Excavation - Off Site Disposal to local sites (NE Coquitlam) (Provisional) | Cubic Meter | 9700
12.03 | (1.8.5.5) | Common Excavation - Onsite reuse (Provisional) | Cubic Meter | 4300
12.04 | (1.8.5.7) | Relocating boulders (600mm or bigger) on preload and alongside driveways (Provisional) | each | 100
12.05 | (1.8.5.8) | Japanese Knotweed Removal and Off Site Disposal (Provisional) | Cubic Meter | 1050
12.06 | 1.8.7 | Imported Embankment Fill, 75mm Minus (Provisional) | tonne | 500
12.07 | (1.8.10) | Overexcavation, Offsite Disposal, Backfilling (includes top soil stripping) (Provisional) | Cubic Meter | 200
12.08 | (1.8.14) | Light Weight Fill Material - Pumice Aggregate c/w Geotextile Wrap (Nilex 4551 or Approved Equivalent) | Cubic Meter | 1300
12.09 | (1.8.15) | Japanese Knotweed Removal and Disposal at 1341 Gilleys Trail (Provisional) | Cubic Meter | 950
12.1 | (1.8.16) | Regrading of embankment slope (SE section) below tree line after removal of sloughed top soil as shown on Contract Drawings. Work is recommended to be done from the embankment top so as to protect existing Coho Gravel. | Square Meter | 1100
12.11 | (1.8.17) | Remove existing 200mm dia. watermain, outside of new watermain alignment or new sediment pond excavation, as per Contract Drawings (Provisional) | lin.m | 139
12.12 | (1.8.17) | Remove abandoned gas main, outside of new utility alignment or new sediment pond excavation, as per Contract Drawings (Provisional) | lin.m | 122
13 | 31 37 10 | RIPRAP
13.01 | 1.4.1 | Placing 300mm Riprap for armoring and side slope stability as shown on Contract Drawings (Provisional) | Cubic Meter | 150
14 | 32 11 16.1S | GRANULAR SUBBASE
14.01 | (1.4.3) | 75mm Minus Crushed Granular Sub Base - Road | Tonne | 4230
14.02 | (1.4.3) | 75mm Minus Crushed Granular Sub Base - Driveways (Provisional) | Tonne | 640
14.03 | (1.4.6) | 75mm Clear Crushed Gravel | Tonne | 650
15 | 32 11 23S | GRANULAR BASE
15.01 | (1.4.3) | 19mm Minus Crushed Granular Base, variable thickness, for roadway and as shown on Contract Drawings | Tonne | 5190
16 | 32 12 13.1S | ASPHALT TACK COAT
16.01 | (1.5.1) | Asphalt Tack Coat | Square Meter | 8060
17 | 32 12 16S | HOT-MIX ASPHALT CONCRETE PAVING
17.01 | (1.5.1) | Machine Laid Hot Mix Asphalt 50mm (MMCD Upper course #1) | Tonne | 990
17.02 | (1.5.1) | Machine Laid Hot Mix Asphalt 50mm (MMCD Lower Course #1) | Tonne | 990
17.03 | (1.5.1) | Machine Laid Hot Mix Asphalt (Driveways/Letdowns, MUP) (MMCD Upper Course #2) | Tonne | 530
18 | 32 17 23S | PAINTED PAVEMENT MARKINGS
18.01 | (1.5.3) | Permanent Thermoplastic Pavement Markings | Lump Sum | 1
18.02 | (1.5.4) | Supply & Install of Traffic Signage - City to supply all new sign tabs | Lump Sum | 1
19 | 32 31 13S | CHAIN LINK FENCES AND GATES
19.01 | 1.5.1 | Chain Link Fence (1.8m High) (as per MMCD C13) | lin.m | 682
19.02 | 1.5.2 | Chain Link Gate (1.8m High) - 4300 Oliver Road | lin.m | 11
19.03 | 1.5.2 | Chain Link Gate (1.8m High) - North Pond | lin.m | 6
19.04 | 1.5.3 | Relocation of Existing Chain Link Gates (4170 Cedar Drive) | Each | 1
19.05 | 1.5.2 | 4.0m Wide Tubular Swing Gate as shown on Drawing Sheet 07 | Each | 1
19.06 | (1.5.5) | Supply & Install 5-foot tall (incl.1-foot buried) wire mesh fence - 4265 Cedar Drive East Property Line (match existing type) | lin.m | 53
19.07 | (1.5.6) | Fixed Steel Bollards as per COQ-L8 | Each | 6
20 | 32 84 23S | IRRIGATION SYSTEM
20.01 | (1.11) | Providing and Installing irrigation system complete with double check valve assembly (Watt 007QT), irrigation controller, Rainbird PEB valves, all labor, equipment and materials needed to complete the work as shown on Contract Drawings including maintenance for one year as described in specifications. | Lump Sum | 1
21 | 32 91 21S | TOP SOIL AND FINSIH GRADING
21.01 | (1.4.1) | Growing Mediums specified in Contract Drawings | Cubic Meter | 7000
21.02 | (1.4.1) | Bark Mulch (100mm), Composted, Brown Colour as Shown in Contract Drawings | Cubic Meter | 150
22 | 32 92 19S | HYDRAULIC SEEDING
22.01 | (1.8) | Hydroseed (Provisional) | Square Meter | 310
22.02 | 1.8.3 | Erosion Control Blanket (Terrafix C200 or approved equivalent) installed as per Manufacturer's specifications | Square Meter | 11320
23 | 32 92 23S | SODDING
23.01 | (1.8.1) | Sodding | Square Meter | 1950
24 | 32 93 01S | PLANTING OF TREES, SHRUBS, AND GROUND COVERS
24.01 | (1.9.1) | Tree - Abies grandis - Grand Fir | Each | 30
24.02 | (1.9.1) | Tree - Acer circinatum - Vine Maple | Each | 10
24.03 | (1.9.1) | Tree - Alnus rubra - Red Alder | Each | 9
24.04 | (1.9.1) | Tree - Alnus sinuata - Sitka Alder | Each | 73
24.05 | (1.9.1) | Construction Deficiency Holdback | Each | 32
24.06 | (1.9.1) | Tree - Comus nuttallii - Pacific Dogwood | Each | 15
24.07 | (1.9.1) | Tree - Crataegus douglasii - Black Hawthorn | Each | 31
24.08 | (1.9.1) | Tree - Malus fusca - Oregon Crab Apple | Each | 13
24.09 | (1.9.1) | Tree - Picea glauca - White Spruce | Each | 6
24.1 | (1.9.1) | Tree - Pinus contorta - Shore Pine | Each | 27
24.11 | (1.9.1) | Tree - Prunus emarginata - Bitter Cherry | Each | 20
24.12 | (1.9.1) | Shrubs | Each | 5493
24.13 | (1.9.1) | Ground Cover | Each | 3004
24.14 | (1.9.1) | Tree - Pseudotsuga menziesii - Douglas Fir | Each | 16
24.15 | (1.9.1) | Tree - Quercus garryana - Garry Oak | Each | 6
24.16 | (1.9.1) | Tree - Thuja plicata - Western Red Cedar | Each | 52
24.17 | (1.9.1) | Tree - Tsuga heterophylla - Western Hemlock | Each | 17
24.18 | (1.9.3) | Large Woody Debris | Each | 36
24.19 | (1.9.3) | Tree Snag | Each | 13
24.2 | (1.9.3) | Bat Box | Each | 16
24.21 | (1.9.4) | 450mm dia. Denbow Filtrexx Soxx on Steep Slopes in lieu of wood wattle fences where shown on Contract Drawings (to be installed as directed by QEP and Manufacturer's Rep per Manufacturer Specifications). | Linear Meter | 2781
24.22 | (1.9.1) | Transplant Existing Trees Located at the West side of Drainage Channel to New Location as shown on Contract Drawings c/w reinstating topsoil in existing tree locations | Each | 66
25 | 33 05 25S | HORIZONTAL DIRECTIONAL DRILLING
25.01 | (3.1) | 450mm (18") DR11 HDPE Sanitary Main c/w Temporary Cap - Grey Pipe (HDPE Pipe to be supplied by the City; excluding fittings; Contractor to coordinate delivery, unloading, and safety and storage on site) | Linear Meter | 472
26 | 33 11 01S | WATERWORKS
26.01 | (1.8.2) | 200mm DI CL50 Water Main (V-Bio Encased) TR Flex; Approved Native Backfill c/w Steel Casing with RACI spacers (At Road Tie-In North) as shown on Contract Drawings | Linear Meter | 151
26.02 | (1.8.3) | 200 x 200 x 200 Tee | Each | 1
26.03 | (1.8.3) | 200 x 200 x 150 Tee | Each | 3
26.04 | (1.8.3) | 200mm 45 Degree DI Elbow | Each | 3
26.05 | (1.8.3) | 200mm Gate Valve | Each | 4
26.06 | (1.8.4) | 50mm Water Service Connection to #4170 (as per COQ-W2e) c/w Terminal City Nelson type valve box, meter setter, and all appurtenances as per Standard Detail WM-3. Existing water service to be removed and capped as per COQ -W2h. | Each | 1
26.07 | (1.8.4) | 25mm Water Service Connection to #4180 (as per COQ-W2b-2) c/w Terminal City Nelson type valve box, meter setter, and all appurtenances as per Standard Detail WM-2. Existing water service to be removed and capped as per COQ -W2g. | Each | 1
26.08 | (1.8.4) | 25mm Water Service Connection to #4265 (as per COQ-W2b-2) c/w Terminal City Nelson type valve box, meter setter, and all appurtenances as per Standard Detail WM-2. | Each | 1
26.09 | (1.8.5) | Air Release Valve (as per COQ-W6) | Each | 1
26.1 | (1.8.7) | Blow-off Assembly (as per COQ-W8) | Each | 1
26.11 | (1.8.13) | Existing 200mm Watermain Tie-In | Each | 3
26.12 | (1.8.14) | Fire Hydrant Assembly Terminal City C71P c/w Storz (Complete as per MMCD W4) | Each | 2
26.13 | (1.8.15) | Existing Fire Hydrant Assembly Relocation c/w Lead Extension | Each | 1
27 | 33 30 01S | SANITARY
27.01 | (1.6.2) | 375mm SDR35 PVC Sanitary Main; Approved Native Backfill | Linear Meter | 417
27.02 | (1.6.2) | 200mm SDR35 PVC Sanitary Main; Approved Native Backfill | Linear Meter | 12
27.03 | (1.6.2) | 375mm Dia. Temporary Cap | Each | 2
27.04 | (1.6.2) | 200mm Dia. Temporary Cap | Each | 1
27.05 | (1.6.3) | New 100mm Dia. Sanitary Service Connection to #4265 (as per MMCD S7) | Each | 1
27.06 | (1.6.7) | Existing 375mm Sanitary Main Tie-In | Each | 1
28 | 33 40 01S | STORM SEWERS
28.01 | (1.6.6) | 100mmØ PVC Perforated Pipe Including Day Lighting, Drain Rock, Filter Fabric as shown in Contract Drawings. | Linear Meter | 250
29 | 33 42 13S | PIPE CULVERTS
29.01 | (1.5.2) | 600mm Conc. Culvert (Creek Bypass) | Linear Meter | 100
29.02 | (1.5.2) | 300mm Conc. Culvert | Linear Meter | 20
29.03 | (1.5.2) | Installation of 1.2mx2.1m CONC. Box Culvert; c/w Weir and Coho Gravel As Shown on Contract Drawings (Concrete Culverts are supplied by the City) | Linear Meter | 72
29.04 | (1.5.2) | Installation of 0.9mx2.1m CONC. Box Culvert; c/w Weir and Coho Gravel As Shown on Contract Drawings (Concrete Culverts are supplied by the City) | Linear Meter | 36
29.05 | (1.5.2) | 250mm SDR28 PVC Culvert | Linear Meter | 33
29.06 | (1.5.2) | 200mm SDR28 PVC Culvert | Linear Meter | 37
29.07 | (1.5.2) | 200mm Dia. Flap Gate | Each | 1
30 | 33 44 01S | MANHOLES AND CATCHBASINS
30.01 | (1.5.1.1) | 1050mm Concrete Sanitary Pre-benched Manhole Base c/w Slab, Frame and Cover | Each | 7
30.02 | (1.5.1.2) | 1050mm Sanitary Manhole Risers | Vert. Meter | 28
30.03 | (1.5.7) | 1050mm Concrete Sanitary Overbuild Manhole Base c/w Benching, Slab, Frame and Cover | Each | 2
30.04 | (1.5.3.2) | Water Valve Box Replacement - Terminal City Nelson Type as Directed by CA (Provisional) | Each | 3
Total Tendered Price (exclude GST):
(Transfer the amount to Form of Tender Summary Page 1)
Name of Contractor: