## Technical Submission Matrix
Appendix A - Technical Submission Matrix
Item | Section | Requirement | State/Comments
1 | Standards | NIOSH 42 CFR Part 84
2 | Standards | NFPA 1970 (2025) or 1981/1982
3 | Standards | Electronic Certification (eg: C1D2)
4 | SCBA | Manufacturer
5 | SCBA | Model
6 | SCBA | Operating Pressure
7 | SCBA | Cylinder Compatibility
8 | SCBA | Regulator Type
9 | SCBA | Redundancy Method
10 | SCBA | PASS Device
11 | SCBA | Dual EOSTI
12 | SCBA | EBSS
13 | SCBA | RIC/UAC
14 | SCBA | Tracking Capability
15 | Facepiece | Sizes Available
16 | Facepiece | NFPA 1970 Compliant
17 | Facepiece | Latex-Free
18 | Facepiece | Temperature Rating
19 | RIT Packs & EEBA | RIT Packs Provided (Qty)
20 | RIT Packs & EEBA | Multi-brand Compatibility (Y/N)
21 | RIT Packs & EEBA | RIC/UAC Included (Y/N)
22 | RIT Packs & EEBA | EEBA Units Provided (Qty)
23 | RIT Packs & EEBA | EEBA Duration (minutes)
24 | RIT Packs & EEBA | Supplied Air Capability (Y/N)
25 | Pass & Locator | Auto Activation (Y/N)
26 | Pass & Locator | Battery Type
27 | Pass & Locator | Locator Included (Y/N)
28 | Pass & Locator | Wireless Frequency
29 | Pass & Locator | Programmable ID (Y/N)
30 | Pass & Locator | Console Type
31 | Pass & Locator | LED Indicators Provided (Y/N)
32 | Pass & Locator | Sensor Module Description
33 | Diagnostic & Testing | Flow Test Bench Included (Y/N)
34 | Diagnostic & Testing | Software Included (Y/N)
35 | Diagnostic & Testing | Port-A-Count Adapters Included (Y/N)
36 | Diagnostic & Testing | Additional Equipment
37 | Harness | Back Frame Material
38 | Harness | Harness Type
39 | Harness | Drag Rescue Device
40 | Cylinders | 45-min Cylinders Qty
41 | Cylinders | 60-min Cylinders Qty
42 | Cylinders | 75-min Cylinders Qty
43 | Cylinders | EEBA Cylinders Qty
44 | Warranty | SCBA Warranty (years)
45 | Warranty | Electronics Warranty (years)
46 | Service | Local Service Location
47 | Service | Response Time
48 | Service | Turnaround Time
49 | Qualifications | Years in Operation
50 | Qualifications | Certified Technicians